## Auditorium
CN:
Date:
AUDITORIUM CENTRAL AIRCON MONITORING FORM
COMPRESSOR 1 |  |  |  |  | COMPRESSOR 2
Start Time | Pressure reading (psig) |  |  | Finish Time | Start Time | Pressure reading (psig) |  |  | Finish Time
| Oil | Suction | Discharge |  |  | Oil | Suction | Discharge
Compressor 1 Current (Amp) LnA + LnB = 84 Amps
| L1A | L2A | L3A | L1B | L2B | L3B
Start
Finish
Compressor 2 Current (Amp) LnA + LnB = 84 Amps
| L1A | L2A | L3A | L1B | L2B | L3B
Start
Finish
| AHU 1 Current (Amp) |  |  | AHU 2 Current (Amp)
| L1 | L2 | L3 | L1 | L2 | L3
Start
Finish
| ACCU Current (Amp) |  |  | Remarks:
| L1 | L2 | L3
Start
Finish
Prepared by: | AHU 2 Current (Amp) L3: Noted by:
RAC Technician / Electrician on duty | AHU 2 Current (Amp) L3: Engineer-in-charge
(Signature over printed name) | AHU 2 Current (Amp) L3: (Signature over printed name)
DAP-AMC-F28, Rev. 0
Monitoring Parameters:
Oil Pressure = +15 psig of suction or always higher than suction.
Suction Pressure = 50 to 75 psig. Known as Low side gauge
Discharge Pressure = 250 to 300 psig. Known as High side gauge.
Ampere reading shall be balanced.